| PA 3745 / 7-02 | THE PORT AUTHORITY OF NY & NJ | FACILITY: |  |
| --- | --- | --- | --- |
|  | CONFINED SPACE ENTRY PERMIT | DURATION OF PERMIT: |  |
| Hand print in ink. (See instructions) |
| 1. | Permit Number: | Work Order Number: |
| Confined Space Number (If Applicable): | High Tension Permit Number (If Applicable): |
| 2. | Requested By: | Issued By: |
|  |  |  | Chief Mtc. Supv./Designee |  |  |
| Print Name | Signature | Print Name | Signature |
| Exact Location of Confined Space: | Purpose of Entry: |
| 3. | PRE-ENTRY CHECKLIST – COMPLETED BY SUPERVISOR OF JOB SITE |
|  |  | YES | N/A |  |  | YES | N/A |
| Entry and emergency procedures reviewed |  |  | All hazardous lines have been isolated |  |  |
| All personnel trained (classroom/exercise) |  |  | Hot work permits (Welding, Cutting, Etc.) |  |  |
| All personnel knowledgeable about potential hazards |  |  | Space has been drained and flushed |  |  |
| Attendant stationed at entrance |  |  | Ventilation equipment is being utilized |  |  |
| Rescue equipment on location and readily accessible (Tripod, Safety Lines, Harnesses) |  |  | All energy sources have been de-energized and locked/tagged out |  |  |
| Communication devices at site (Radios, Cellular Phones, Etc.) |  |  | Electrical equipment is grounded |  |  |
| Personal monitors worn by all entrants |  |  | Ground fault circuit interrupters (GFCI) used |  |  |
| Entry area is free of debris and objects |  |  | Electrical equipment rated for explosive atmospheres |  |  |
| Warning barriers and signs are in place |  |  | Low voltage (< 25v) lighting used |  |  |
| Atmospheric monitoring conducted |  |  | No compressed gas cylinders stored in space |  |  |
| 4. | GAS DETECTION EQUIPMENT/ATTENDANT (S) ENTRANT (S) |
| Instrument Used |  | Attendant(s) - Print Name(s) |  | Initial(s) |  | Initial | - | Final |
| Serial No. |  |  |  |  |  |  |  |  |  |  |  |  |
| Calibration Date |  | Entrant(s) - Print Name(s) |  | Initial (In) |  | Initial (Out) |  | Initial | - | Final |
| 5. | MONITORING RESULTS: (record results every 2 hours) ENTRY SUPERVISOR MUST VERIFY INITIAL READINGS |
| Required Testing | Acceptable Entry Conditions | : (AM/PM) | : (AM/PM) | : (AM/PM) | : (AM/PM) | : (AM/PM) | : (AM/PM) |
| % of Oxygen – O2 | 19.5% - 23.5% |  |  |  |  |  |  |
| Lower Explosive Limit - LEL | 10% or Less |  |  |  |  |  |  |
| Carbon Monoxide – CO | Under 35 ppm |  |  |  |  |  |  |
| Hydrogen Sulfide – H2S | Under 10 ppm |  |  |  |  |  |  |
| Other Tests |  |  |  |  |  |  |  |
| 6. | APPROVAL TO PERFORM WORK IN CONFINED SPACE – DUTY ENTRY SUPERVISOR |
| Signature at Start of Job: |  | Initials at Completion of Job: |  |
| IN THE EVENT OF AN EMERGENCY CONTACT: |  |
| (To Be Filled in By Person Issuing Permit) TELL THE OPERATOR |
| Your name and company name. Location, including cross streets. Phone number from which you are calling. This is a confined space operations. You need a rescue service. | Number of victims; conditions of victims if known. Type of entry (manhole, door, etc.). Any known conditions in the space (gas readings, flooding) |
| Permit is voided by Chief Maintenance Supervisor or Designee at end of Shift or Completion of Job. |  |  |  |
|  | Signature – CMS or Designee |  | Date |

# THE PORT AUTHORITY OF NY & NJ

CONFINED SPACE ENTRY ADMINISTRATIVE AND SAFETY RULES

- No work shall be performed in any designated Permit Required Confined Space (PRCS) without acknowledgement by the Chief Maintenance Supervisor or his/her designee.

- When work involving entrance into a PRCS is requested, the Confined Space Entry Permit (Form PA 3745) must be completed as follows:

Section 1 – Permit number, work order number, confined space number (if applicable), and high-tension permit number (if 	applicable).

Section 2 -	Name of Supervisor requesting permit, Chief Maintenance Supervisor or designee, location of confined space, and purpose of entry.

Section 3 -	Pre-entry checklist.

Section 4 -	Record gas detection equipment name, serial number, and calibration date.  Record attendant(s) and entrant(s) name(s).  Prior to entering a PRCS, entrant(s) must initial that they are entering the space and upon completion of work entrant(s) must initial indicating they are exiting the space.

Section 5 - Monitoring results.  Monitoring results must be recorded every two hours.

Section 6 -	After verifying initial readings entry supervisor must provide his/her signature in the space provided on the permit.  Upon completion of work entry supervisor must provide his/her initials.

Upon completion of work or when shift ends, the Chief Maintenance Supervisor or designee must cancel the permit, file copy, and route original to Risk Management, PATC 43.

- The Requesting Unit, prior to starting work, shall assure itself that the confined space has been properly identified, monitored, secured and that all safety precautions have been implemented (such as ventilation, lock-out/tag-out, etc.  Other interested personnel, such as the Resident Engineer, Tenant Representative, FAA, Utility companies, etc., may witness above operations.  Responsibility for notification to interested and affected parties is the responsibility of the Chief Maintenance Supervisor or designee.

- Once initial monitoring has been conducted in the PRCS the Confined Space Entry Permit shall be prominently posted at the work site for the duration of the job.  A copy shall be given or faxed (with verification of receipt) to the Police desk and/or Communications desk, and the local PAPD Tour Commander to alert personnel of work being performed in a PRCS by the Chief Maintenance Supervisor.  Any additional information regarding the Confined Space Entry Permit shall be included in the file with the original.

- Should the scope of work or the entire work crew change at any time during the performance of the job described on the permit, a new Confined Space Entry Permit must be completed in accordance with all Confined Space Entry Administrative and Safety Rules.